## FA EzLaze
Part Number | MODEL | DESCRIPTION
EzLaze II, Stepper Motor Controlled Air Cooled Laser Cutter Systems
1000-2600 | EzLaze II | Laser Cutter System designed for analytical probers in semiconductor failure analysis. Stepper motor controlled for improved repeatability and accuracy. Required Mitutoyo FS60Y/FS70L and NIR objectibes. Shipping wt. 80 lbs
1000-2601 | EzLaze II/R | Laser Cutter System designed for analytical probers in semiconductor failure analysis. Theta rotation of +/-45 deg added for non-orthogonal machining. Stepper motor controlled for improved repeatability and accuracy. Required Mitutoyo FS60Y/FS70L and NIR objectibes. Shipping wt. 80 lbs
EzLaze II Wavelength Options (specify wavelengths desired- choose one only)
1064 nm
1064/532 dual wavelengths
532/355 dual wavelength* (must choose UV tube lens)
532 wavelength
532/266 dual wavelength* (must choose UV tube lens)
1064/532/355 trilite* (must choose UV tube lens)
EzLaze II Featuers and Options (specify per description)
Choose 1 power requirement |  | 100/115 Volt Power
230 Volt power
Choose 1 external illuminator or A-Zoom |  | External illuminator, 150W, 100/115 VAC
External illuminator, 150W, 220 VAC
A-Zoom Option (camera adapter, eye filter, illuminator deleted)
*Choose 1 UV Tube lens for 355/266 UV |  | UV tube lens kit for Mitutoyo FS60
UV tube lens kit for Mitutoyo FS70Z
Other Options
Video Target Spot Marker for Mitutoyo FS60/FS70.
Rack mount power supply for QuikLaze
0002-0792 |  | Class I EzLaze; US only
0002-5445-L |  | EzLaze 3.6 m (12 ft) umbilical
One Year Extended Warranty for EzLaze
| Special G | Increase Green energy to 2.5 mJ (Class 4 laser) For Green only or IR/Green Laser
| Special I | Increase IR energy to 2.5 mJ (Class 4 laser) For IR only or IR/Green Laser
0002-0499 |  | Increase camera port field of view by 25%
Notes:
1. Systems for Mitutoyo include laser head, power supply, remote control panel, 150 watt spot marker illuminator, RS232, PCLaze, eye protection filter, camera adapter, mounting ring, and foot switch.
2. The appropriate microscope objectives must be purchased for the laser of interest; NIR objectives for green and IR energy, NUV objectives for green and UV3 energy, UV objectives for green and UV4 energy and/or visible light objectives for green only laser energy
3. Prices are FOB Fremont, CA and do not include freight, insurance, taxes or installation.
EzLaze Air Cooled Laser Cutter Systems
0002-1210ACE | EzLaze IR | Laser Cutter System, IR single wavelength for Mitutoyo
1064 nm, infrared (IR). Requires Mitutoyo FS60Y/FS70L and NIR objectives
0002-1210AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
0002-1220ACE | EzLaze Green | Laser Cutter System, green single wavelength for Mitutoyo
532 nm, green.
0002-1220AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
0002-1230ACE | EzLaze IR/Green | Laser Cutter System, dual wavelength for Mitutoyo
1064 nm & 532 nm, IR/Green. Requires Mitutoyo FS60Y/FS70L and NIR objectives.
0002-1230AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
0002-1240ACEJ | EzLaze Green/UV3 | Laser Cutter System, dual wavelength for Mitutoyo
532 nm & 355 nm, Green/UV.
Specify UV tube lens for FS70Z or FS60
Requires NUV objective.
0002-1240AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
0002-1241ACEJ | EzLaze Green/UV4 | Laser Cutter System, dual wavelength for Mitutoyo
532 nm & 266 nm, Green/UV.
Specify UV tube lens for FS70Z or FS60
Requires UV objective.
0002-1241AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
0002-1250ACE | EzLaze TriLite | Laser Cutter System, triple wavelength for Mitutoyo
1064nm, 532 nm, & 355 nm, IR/Green/UV.
Requires Mitutoyo FS60Y/FS70L microscope. Order UV tube lens for FS60.
Requires NUV and NIR objectives.
0002-1250AZ |  | For A-Zoom. Camera adap., eye filter and illuminator deleted
Shipping wt. 80 lbs.
Notes:
1. Systems for Mitutoyo include laser head, power supply, remote control panel, 150 watt spot marker illuminator, RS232, PCLaze, eye protection filter, camera adapter, mounting ring, and foot switch. Specify B and F instead of A and E for 230 volts.
2. The appropriate microscope objectives must be purchased for the laser of interest; NIR objectives for green and IR energy, NUV objectives for green and UV3 energy, UV objectives for green and UV4 energy and/or visible light objectives for green only laser energy
3. Lasers are designed for Mitutoyo FS 60FC, FS60YC, FS70Z, FS70L and A-Zoom microscopes. Order laser adapter, illuminator and eye protection filter from Option for A-Zoom.
4. Prices are FOB Fremont, CA and do not include freight, insurance, taxes or installation.
EzLaze Features and Options
Letters at the end of the part number identifies the features below
Part Number |  | DESCRIPTION
|  | 100/115 volt power | 0
|  | 230 volt power | 0
|  | Remove camera adapter/eye prot. filter for A-Zoom | 800
|  | Computer IF controller and PCLaze software | 600
|  | External illuminator, 150 watt, 100/115 VAC | #REF!
|  | External illuminator, 150 watt, 230 VAC | #REF!
|  | UV tube lens kit for Mitutoyo FS60 | #REF!
Choose A or B | A | 100/115 volt power
| B | 230 volt power
| C | Camera adapter/eye prot. filter for Mitutoyo
Choose E or F | E | External illuminator, 150 watt, 100/115 VAC
| F | External illuminator, 150 watt, 230 VAC
Choose G or J | G | UV tube lens kit for Mitutoyo FS60
| J | UV tube lens kit for Mitutoyo FS70Z
| H | Custom paint for laser head
| I | Video Target Spot Marker for Mitutoyo FS60/FS70.
Optional for EzLaze & QuikLaze-20. Std on QuikLaze-50.
| R | Rack mount power supply for QuikLaze
| Z | A-Zoom Option
0002-0792 |  | Class I EzLaze; US only
0002-5445-L |  | EzLaze 3.6 m (12 ft) umbilical
One Year Extended Warranty for EzLaze
| Special G | Increase EzLaze/QuikLaze-50 Green energy to 2.5 mJ (Class 4 laser)
For Green only or IR/Green Laser
| Special I | Increase EzLaze/QuikLaze-50 IR energy to 2.5 mJ (Class 4 laser)
For Green only or IR/Green Laser
0002-0499 |  | Increase camera port field of view by 25%
EzLaze LASER SYSTEM UPGRADE PRODUCTS:
The following products include upgrade of the the laser head and power supply only.
Upgrades from IR or Green to UV3/4 includes UV tube lens. Any other necessary optics
or electronics repairs are at an additional charge.
Part Number |  | DESCRIPTION
SPEC-UPG1EZ |  | Upgrade EzLaze Green to EzLaze Green/UV3
SPEC-UPG2EZ |  | Upgrade EzLaze Green to EzLaze TriLite
SPEC-UPG3EZ |  | Upgrade EzLaze Green/UV3 to EzLaze TriLite
SPEC-UPG4EZ |  | Upgrade EzLaze IR/Green to EzLaze TriLite
SPEC-UPG5EZ |  | Upgrade EzLaze Green to EzLaze Green/UV4
SPEC-UPG5EZ |  | Upgrade EzLaze Green/UV3 to EzLaze Green/UV4
SPEC-UPG6EZ |  | Upgrade EzLaze TriLite to EzLaze Green/UV4
SPEC-UPG7EZ |  | Upgrade EzLaze Class IIIb to Class I.
Laser, microscope and objectives must be returned to factory.